## Sheet1
Parameter Block				Data Block				Status Block
size In char	39			Size in char	6x			size in char
chunk size	2			Chunk Size	2			chunk size
reverse order of chunks				Revers order of chunks				reverse order of chunks

Name	#Char	#chunk		Name				Name
Answer command request	3	1	a	Measurement	4	2	j	Digital Inputs	4	2	r
Scale Factor distance resolution	4	2	b	Reflectivity	2	1	k	Reserved	4	1	s
start Angle	8	4	c					Reserved	4	1	t
Angular Step Interval	4	2	d					tach values	4	2	u
Number of Measurements	4	2	e					reserved	4	1	v
Scan Rate	4	2	f					reserved	4	1	w
								scan Counter	4	2	x
								Telegram Counter	4	2	y
Scale Factor Reflective	4	2	g					System Counter	4	2	z
start Value Reflectivity	4	2	h
Stop Value Reflectivity	4	2	I
									36
									20

	3
	7
	15
	19
	23
	27
	27
	27
	31
	35
	39